## Slide 1: Determination of Thermal Conductivity of Insulating Powder
Heat Power Laboratory I (Thermodynamics and Heat Transfer)
ME II Sec A3
2020-21 2nd Semester
Prof. Achintya Mukhopadhyay

## Slide 2
Title:
Thermal Conductivity of an Insulating Powder
Objective:
To determine the thermal conductivity of an insulating powder (Asbestos powder)

## Slide 3: Background Theory
Schematic Diagram
Theory
For 1-dimensional steady state heat transfer in spherical coordinate
At steady state, rate of heat transfer = rate of heat input from electrical heater where
Outer Sphere
(Radius: R0; Temperature: T0)
Inner Sphere
(Radius: Ri; Temperature: Ti)
Electrical Heater
Insulating Powder

## Slide 4: Experimental Setup
Heater Control
Ammeter
Voltmeter
Temperature Indicator
Temperature Selector Switch
Sphere

## Slide 5: Specifications

## Slide 6: Procedure
Put on the main switch
Apply input (power) by operating dimmerstat (Power should not exceed 40 W to prevent burnout)
Wait until a steady state condition is reached
Note down readings in observation table
Repeat the experiment for different heat input
After the experiment is over, put dimmerstat to zero position
Put off the main switch

## Slide 7: Observations
Sl. No. | Vol-tage (V) | Cur-rent (A) | Inner Sphere Temp (C) |  |  |  | Inner Sphere Temp (C) |  |  |  |  | 
 |  |  | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10
Outer Sphere
(Temperatures: T5 – T10)
Electrical Heater
Inner Sphere
(Temperatures: T1 – T4)

## Slide 8: Calculations
Average temperature for inner surface
Average temperature for outer surface
Heat Input
Thermal Conductivity
Calculated
Given
Experimental Observations

## Slide 9: Results
Complete the tables
Show all the steps for one run as sample Calculations
Plot k as a function of Ti
Sl No. | Average temperature for inner surface (C) | Average temperature for inner surface (C) | Heat Input (W) | Thermal Conductivity (W/m-K)