## Slide 1: Measurement of Emissivity of Metal Disc
Heat Power Laboratory I (Thermodynamics and Heat Transfer)
ME II Sec A3
2020-21 2nd Semester
Prof. Achintya Mukhopadhyay

## Slide 2
Title:
Measurement of Emissivity of Metal Disc
Objective:
To determine the total hemispherical emissivity of a metal disc at different temperatures

## Slide 3: Background Theory
Schematic Diagram
Theory
For a black surface at temperature Tb,
  Emissive power is given by
  Radiation emitted by a black surface of area Ab
  Radiation absorbed by a black surface of area Ab from ambient at temperature T∞
  Net rate of heat transfer from black surface to ambient
  Since perfect black surfaces are not possible,
Black plate and metal disc
  Electrically heated to same temperature
  Placed side by side to eliminate mutual radiative exchange
  Insulated at back
Enclosed in a box to eliminate convective currents

## Slide 4: Background Theory
Schematic Diagram
Theory
For a real surface at temperature Ts,
  Radiation emitted by a real surface of emissivity εs and area As
  Radiation absorbed by a real surface of absorptivity αs area As from ambient at temperature T∞
  For gray diffuse surface,
  Net rate of heat transfer from gray surface to ambient
  For and
  For electrically heated plate
Black plate and metal disc
  Electrically heated to same temperature
  Placed side by side to eliminate mutual radiative exchange
  Insulated at back
Enclosed in a box to eliminate convective currents

## Slide 5: Experimental Setup
Duct
Heater
Black Plate
Metal Plate
Box
Heater Control for Test Plate
Heater Control for Black Plate
Temperature Indicator
Selector Switch
Temperature Scanner
Ammeter
Temperature Indicator
Voltmeter

## Slide 6: Specifications

## Slide 7: Procedure
Give power supply to temperature indicator (230 V, single phase) and adjust the readings in it equal to room temperature by rotating the compensation knob (Normally this is pre-adjusted)
Select the proper range on voltmeter/ ammeter
Gradually increase the input to the heater to black plate and adjust it to some value (30, 50, 75 W) and adjust the heater input to test plate slightly less than the black plate (27, 35, 55 W)
Check the temperature of the two plates and adjust dimmerstat so that the two plates are maintained at the same temperature
  Requires trial and error and more than 1 hour of waiting before steady state is reached
After attaining the steady state record the readings V1, I1, V2, I2, T1, T2, T∞
The procedure is repeated for various surface temperatures in increasing order

## Slide 8: Precautions
Use stabilized AC single phase supply
Always keep the dimmerstat at zero position before start
Use proper voltage range on the voltmeter
Gradually increase the heater inputs
See that the black plate is having a uniform layer of lamp black
Never put the heater selector switch at off position i.e., intermediate position

## Slide 9: Observations
Sl. No. | Heater Input | Temperature
Test Plate | Black Plate
Voltage V1 (V) | Current I1 (A) | Voltage V2 (V) | Current I2 (A) | Test Plate T1 (°C) | Black Plate T2 (°C) | Ambient T∞ (°C)

## Slide 10: Calculations
Calculate power input to test plate
Calculate power input to black plate
Calculate area of each plate as
Assume εb=1
Calculate emissivity of test plate as
Plot ε versus T1
Factor 2 accounts for both sides of the plate