## Slide 1: DYNAMIC CHARACTERISTICS OF MEASURING INSTRUMENTS

## Slide 2: Example of Static & Dynamic Characteristics
k
c
m
f
x
x = 0
x1
x2
x3
x4
x5
f1
f2
f3
f4
f5
f
x
Static Characteristic
Dynamic Characteristic
x
f = 1; m = 10; c = 2; k = 10

## Slide 3: Importance of understanding Dynamic Response of a Measurement System/Instrument
qo1
t1
True value/Measured value
time
qi1
t0
0
qo2
t2
qo1
t1
qo2
t2
True value/Measured value
time
qi1
t0
0

## Slide 4: Importance of understanding Dynamic Response of a Measurement System/Instrument
True value/Measured value
qi
qo
True value/Measured value
qi
qo
SPEED
Ts1
Ts2
Ts1 > Ts2  Instrument1 slower than Instrument2

## Slide 5: Importance of understanding Dynamic Response of a Measurement System/Instrument
True value/Measured value
qi
qo
STEADY STATE ERROR
True value/Measured value
qi
qo
Steady
State
Error

## Slide 6: Importance of understanding Dynamic Response of a Measurement System/Instrument
True value/Measured value
qi
qo
qi
qo
True value/Measured value
MAXIMUM OVERSHOOT
OS1 > OS2
OS1
OS2

## Slide 7: Importance of understanding Dynamic Response of a Measurement System/Instrument
STABILITY
System1 STABLE than System2 UNSTABLE
True value/Measured value
qi
qo
True value/Measured value
qi
qo

## Slide 8: Theoretical Study of Dynamic Characteristics
Modeling of input- output relationship considering the specific need of application.
Solution for the derived differential equation using standard procedure.
Extraction of dynamic characteristic features from the time dependent relationship between input and output.
Control of system parameters to achieve desired dynamic characteristic features.
Use of dynamic characteristic features in measurement to correct for error or filtering of improper data.

## Slide 9: Modeling of Dynamics of Measurement Systems/Instruments
Dynamic System  Differential Eq.
Ordinary Differential Eq.
Partial Differential Eq.
Linear Ordinary
Differential Eq.
Nonlinear Ordinary
Differential Eq.
Linearize ???
Linear Time Variant
ODE
Linear Time Invariant
ODE
LTI Systems
Measurement
System
INPUT
(qi)
OUTPUT
(qo)

## Slide 10: Analysis of LTI Systems
Measurement
System

INPUT
(qi)
OUTPUT
(qo)
where ai s and bj s are pure constant
‘n’  Order of the LTI System

## Slide 11: Solution of LTI Systems
Measurement
System

INPUT
(qi)
OUTPUT
(qo)
Considering Dj = dj/dtj , the above eq. can be written as,

## Slide 12: Solution of LTI Systems
Measurement
System

INPUT
(qi)
OUTPUT
(qo)
Complimentary Function
Free Response
Particular Integral
Forced Response
System transience
Stability
Speed
Overshoot
x
F = 1; m = 10; c = 2; k = 10

## Slide 13: Analysis of LTI Systems
Laplace Transform
Qo(s) = L {qo(t)}
Qi(s) = L {qi(t)}
(s) = L {(t)}
Ordinary
Differential
Equation
Algebraic
Equation
For a given qi(t)  Qi(s)  Solve for Qo(s)  Get qo(t) = L -1 {Qo(s)}
Inverse Laplace Transform
Time Domain
Analysis (t)
Frequency Domain
Analysis (s)

## Slide 14: Laplace Transform
s is a complex frequency given as,
where  and  are real nos.
Direct Laplace Transform
where  is a real number.
Inverse Laplace Transform

## Slide 15: Laplace Transform Table
f(t) F(s)
f(t) F(s)
zero initial conditions

## Slide 16: Analysis of LTI Systems
Laplace Transform of LTI Systems
Solution – free + forced
Stability Analysis
Dynamic characteristic parameters
X

## Slide 17: Analysis of LTI Systems
for all zero initial conditions
Laplace Transform
System Transfer Function

## Slide 18: Analysis of LTI Systems
‘n’ roots – POLES
ORDER of system
Real
Complex Pairs
< 0
Real part < 0
Stable System 
Stable
Zone
Unstable
Zone
Re
Im
-2
-2
+3
+3
-2  4j, where j =
+4
-4
ARGAND DIAGRAM

## Slide 19: Analysis of LTI Systems

## Slide 20: Standard Inputs
Step Input
Ramp Input
Parabolic Input
Impulse Input
Sinusoidal Input
Time Domain Analysis
Frequency
Domain
Analysis

## Slide 21: Zero Order Instrument
n = 0
Static Sensitivity
Laplace Transform
Transfer Function

## Slide 22: Example of Zero Order Instrument
Displacement Measuring
Potentiometer
qi = xi
qo = eo
qi = xi
qo = eo
Mixed Input
qi = xi
qo = eo
= xis
= Kxis
Step Input
Inductance & capacitance of potentiometer
very low
Speed of variation of xi very low to make the
effect of Inductance & capacitance negligible.
Frictional effect between slider and wire negligible.

## Slide 23: First Order Instrument
n = 1
Static Sensitivity
Time Constant

## Slide 24: First Order Instrument
Laplace Transform
Transfer Function

## Slide 25: Example of First Order Instrument
ASSUMPTIONS
Tt(t) is uniform throughout the fluid
Ttf is uniform throughout the bulb
Mechanical lag associated with expansion of fluid negligible compared to thermal lag in heat transfer.
Liquid-in-glass
Thermometer
qi = Ti(t)
qo = xo
Ti(s)
Xo(s)
xo: displacement from reference mark [m]
Ttf: temp. of bulb fluid (Ttf = 0 if xo = 0)[oC]
Kex: differential expansion coeff. of fluid
and bulb [m3/(m3.oC)]
Vb: volume of bulb [m3]
Ac: cross-section of capillary tube [m2]

## Slide 26: Example of First Order Instrument
Liquid-in-glass
Thermometer
qi = Ti(t)
qo = xo
U: heat transfer coeff. across bulb wall [W/m2.oC]
Ab: heat transfer area of bulb wall [m2]
 : density of thermometric fluid[kg/m3]
C: sp. heat of thermometric fluid [J/(kg.oC]
ASSUMPTIONS
Bulb wall and fluid films have negligible heat storage capacity – pure thermal resistance.
U remains constant (change with temp. neglected).
Ab is constant (change due to expansion-contraction ignored.
Heat loss from bulb due to conduction up the stem is ignored.
Mass of fluid in bulb constant.
C is constant (change with temp. neglected).

## Slide 27: Example of First Order Instrument
Liquid-in-glass
Thermometer
qi = Ti(t)
qo = xo

## Slide 28: Step Response of First Order Instrument
Step Input
Partial Fraction Method
Inverse Laplace
Transform

## Slide 29: Step Response of First Order Instrument
Measurement Error

## Slide 30: Ramp Response of First Order Instrument
Ramp Input
Partial Fraction
Method
Inverse Laplace
Transform

## Slide 31: Ramp Response of First Order Instrument
Measurement Error

## Slide 32: Second Order Instrument
n = 2

## Slide 33: Second Order Instrument
Laplace Transform
Transfer Function

## Slide 34: Example of Second Order Instrument
qi = fi(t)
qo = xo
fi(s)
Xo(s)
k
c
m
fi
xo
xo = 0
Spring Balance

## Slide 35: Step Response of Second Order Instrument
Step Input
Effect of damping ratio on step response
< 1 : under-damped
= 1 : critically damped
> 1 : over-damped

## Slide 36: Step Response of Second Order Instrument
Under-damped
Critically damped
Over-damped

## Slide 37: Step Response of Second Order Instrument

## Slide 38: Step Response of Second Order Instrument
(qo/Kqis)max
(qo/Kqis)ss
1.02(qo/Kqis)ss
0.98(qo/Kqis)ss
0.90(qo/Kqis)ss
0.10(qo/Kqis)ss
Rise time, Tr. time required to go from 10% to 90% of the s.s. value.
Peak time, TP. time required to reach the first, or maximum, peak.
Percent overshoot, %OS. amount that the waveform overshoots the s.s. value at the peak time, expressed as a percentage of the s.s.value.
Settling time, Ts. time required for the transient’s damped oscillations to reach and stay within 2% of the s.s. value.

## Slide 39: Ramp Response of Second Order Instrument
Ramp Input
Critically damped
Under-damped
Over-damped

## Slide 40: Ramp Response of Second Order Instrument
Dynamic Error
Dynamic Lag

## Slide 41: Measuring Lag
An instrument does not react to a change in input immediately.
The delay in the response of an instrument to a change in the measured quantity is known as measuring lag.
Thus it is the retardation delay in the response of a measurement system to changes in the measured quantity.
This lag is usually quite small, but this small lag becomes highly important when high speed measurements are required.
In the high speed measurement systems, as in dynamic measurements, it becomes essential that the time lag be reduced to minimum.

## Slide 42: Measuring Lag
Measuring lag is of two types
i) Retardation type: In this type of measuring lag the response begins immediately after a change in measured quantity has occurred.
ii) Time delay: In this type of measuring lag the response of the measurement system begins after a dead zone after the application of the input.

## Slide 43: Fidelity
Fidelity of a system is defined as the ability of the system to reproduce the output in the same form as the input.
It is the degree to which a measurement system indicates changes in the measured quantity without any dynamic error.
Supposing if a linearly varying quantity is applied to a system and if the output is also a linearly varying quantity the system is said to have 100 percent fidelity.
Ideally a system should have 100 percent fidelity and the output should appear in the same form as that of input and there is no distortion produced in the signal by the system.
In the definition of fidelity any time lag or phase difference between output and input is not included.

## Slide 44: Dynamic Error
The dynamic error is the difference between the true value of the quantity changing with time and the value indicated by the instrument if no static error is assumed.
However, the total dynamic error of the instrument is the combination of its fidelity and the time lag or phase difference between input and output of the system.